## Tabelle1
Variable | operational Range |  | Bits usage | [15 empty] | Value will be invalidated by
| min. | max. | 15 7 | 14 6 | 13 5 | 12 4 | 11 3 | 10 2 | 9 1 | 8 0 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | Gas-Change & Bailout | lost Gas | SetPoint Change | toggle GF/aGF
|  |  | 32768 | 16384 | 8192 | 4096 | 2048 | 1024 | 512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1
char_O_NDL_norm | 0 | 240 | [8 empty] | operational value | [7 empty] | (X) | - | (X) | -
char_O_NDL_alt | 0 | 240 | [8 empty] | operational value | [7 empty] | (X) | - | (X) | -
int_O_gradient_factor | 0 | 255 | Warning Flag | Attention Flag | - | - | - | - | - | - | operational value | [7 empty] | - | - | - | -
int_O_ceiling | 0 | 16000 | invalid Flag | - | operational value | [13 empty] | - | - | - | X
char_O_first_deco_depth | 0 | 255 | [8 empty] | operational value | [7 empty] | X | X | X | X
char_O_first_deco_time | 0 | 99 | [8 empty] | - | operationa value | [6 empty] | X | X | X | X
char_O_deco_depth[NUM_STOP] | 0 | 255 | [8 empty] | operational value | [7 empty] | X | X | X | X
char_O_deco_time[NUM_STOP] | 0 | 99 | [8 empty] | - | operationa value | [6 empty] | X | X | X | X
char_O_deco_gas[NUM_STOP] | 1 | 5 | [8 empty] | invalid Flag *) #) | - | - | - | - | operationa value |  |  | X | X | X | X
int_O_TTS_norm | 0 | 999 | - | - | - | - | - | invalid Flag | operational value | [9 empty] | X | X | X | X
int_O_TTS_alt | 0 | 999 | - | - | - | - | not computed yet Flag | invalid Flag | operational value | [9 empty] | X | X | X | X
int_O_CNS_current | 0 | 999 | Warning Flag | Attention Flag | - | - | - | - | operational value | [9 empty] | - | - | - | -
int_O_CNS_norm | 0 | 999 | Warning Flag | Attention Flag | - | - | - | invalid Flag | operational value | [9 empty] | X | X | X | X
int_O_CNS_alt | 0 | 999 | Warning Flag | Attention Flag | - | - | - | invalid Flag | operational value | [9 empty] | X | X | X | X
int_O_gas_need_pres[NUM_GAS] | 0 | 999 | Warning Flag: pres_need >= pres_fill | Attention: pres_need >= press_fill * ATTENTION_ THRESHOLD | too high Flag ( > 999 bar ) | - | Zero Flag pres_need == 0 | invalid Flag (#) | operational value | [9 empty] | X | X | X | X
int_I_pressure_drop[0,1] | 0 | 4095 | Warning Flag: out of Range | - | outdated Flag | not avail Flag | operational value in 1/160 bar/sec | [11 empty] | - | - | - | -
int_O_SAC_measured | 0 | 999 | - | Attention Flag | outdated Flag | not avail Flag | - | - | operational value in 0.1 l/min | [9 empty] | - | - | - | -
int_IO_pressure_value[0/1] | 0 | 4000 | Warning Flag: pres_value < pres_need/ WARNING_ THRESHOLD OR < 20 bar | Attention: pres_value < press_need/ ATTENTION_ THRESHOLD OR < 50 bar | outdated Flag | not avail Flag | operational value in 0.1 bar | [11 empty] | - | - | - | -
int_O_pressure_need[0/1] | 0 | 4000 | Warning Flag: out of Range | - | outdated Flag | not avail Flag | operational value in 0.1 bar | [11 empty] | X | X | X | X
*) used to indicate valid/invalid state for all stops-related variables |  |  |  | (#) Flag is set on first variable in array only |  |  | ($) only set in +5' simulator function |  |  |  | (X) these variables get updated so fast that an invalid-indication is not needed
Variable | operational Range |  | Bits usage | [15 empty] | Value will be invalidated by
| min. | max. | 15 7 | 14 6 | 13 5 | 12 4 | 11 3 | 10 2 | 9 1 | 8 0 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | Gas-Change & Bailout | lost Gas | SetPoint Change | toggle GF/aGF
|  |  | 32768 | 16384 | 8192 | 4096 | 2048 | 1024 | 512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1
int_O_breathed_ppO2 | 0 | 999 | Warning Flag | Attention Flag | too high Flag | too low Flag | - | - | operational value | [9 empty] | - not applicable -
int_O_pure_ppO2 | 0 | 999 | Warning Flag | Attention Flag | too high Flag | too low Flag | - | - | operational value | [9 empty] | - not applicable -
int_O_pSCR_ppO2 | 0 | 999 | Warning Flag | - | too high Flag | too low Flag | - | - | operational value | [9 empty] | - not applicable -
int_O_O2_ppO2 | 0 | 999 | Warning Flag | - | too high Flag | (not possible) | - | - | operational value | [9 empty] | - not applicable -
int_O_gas_density | 0 | 2000 | Warning Flag | Attention Flag | - | - | operational value | [11 empty] | - not applicable -
char_O_tissue_pres_N2[COMP] | 0 | 127 | [8 empty] | ongassing Flag | operationa value | [6 empty] | - not applicable -
char_O_tissue_pres_He[COMP] | 0 | 127 | [8 empty] | ongassing Flag | operationa value | [6 empty] | - not applicable -
int_O_desaturation_time | 0 | 5999 | - | - | - | operational value | [12 empty] | - not applicable -
int_O_nofly_time | 0 | 5999 | - | - | - | operational value | [12 empty] | - not applicable -
char_O_deco_warnings | - | - | [8 empty] | DECO Flag | Stoptable Overflow | Outside latched | Outside ZHL16 | µBubble latched | µBubble Warning | IBCD latched | IBCD Warning | - not applicable -
*) used to indicate valid/invalid state for all stops-related variables |  |  |  | (#) Flag is set on first variable in array only |  |  | ($) only set in +5' simulator function |  |  |  | (X) these variables get updated so fast that an invalid-indication is not needed